flood monitoring and early warning system using IOT

Introduction:

>   The most harmful natural disaster is Flood which occurs on the increase of                                                  water level. The damages caused by the flood will be more harmful and the time taken for recovery will take long period of time.

> The only way to reduce the damages and the real life of people is to detect the                    water level frequently.

>  The water level in the systems such as dams, reservoirs etc are to be frequently tested and monitored. The water level can be predicted by the proposed system.

>  IoT is an embedded system of hardware/software. Where hardware includes chips and sensors and software includes data storage and analyses, the communication between any system is done through wireless sensor networks.

>  IoT always unite the physical world to internet with the help of sensors

within or connected to it. Where in this system IoT is connected to some sensors to have a real time calculation. These level predictions are transmitted to

the application developed with help of android to have an alert.

Hardware Required:

1. ESP32 Development Board (e.g., ESP32-WROOM-32)

2. Water level sensor (e.g., a float switch or water level sensor)

3. Buzzer or speaker for the alarm

4. Wokwi account (for simulating the project online)

5. Internet connection for Wokwi simulation

Step 1: Setting up the Wokwi Environment**

1. Visit the Wokwi website (https://wokwi.com/).

2. Create an account if you don't have one already.

3. Once logged in, click on "Create a new simulation."

4. Select "ESP32 DevKit" as your board.

Step 2: Connecting the Hardware in Wokwi**

1. In the Wokwi simulator, you can add components like the ESP32, water            	level sensor, and buzzer/speaker by dragging them from the components 		panel onto the virtual breadboard.

2. Connect the components using virtual jumper wires. Connect the power 	and ground pins appropriately.

3. Connect the water level sensor to an analog input pin on the ESP32.

4. Connect the buzzer/speaker to a digital output pin on the ESP32.

Step 3: Writing the Arduino Code**

Here's a simple Arduino code example to get you started with flood monitoring and early warning. This code reads the water level from the sensor and triggers the alarm when the water level exceeds a certain threshold.

```cpp

#define WATER_SENSOR_PIN A0

#define BUZZER_PIN 2

#define WATER_THRESHOLD 500 // Adjust this threshold as needed

void setup()

{

pinMode(WATER_SENSOR_PIN, INPUT);

pinMode(BUZZER_PIN, OUTPUT);

}

void loop()

{

int waterLevel = analogRead(WATER_SENSOR_PIN);

if (waterLevel > WATER_THRESHOLD)

{

// Water level is above the threshold, trigger the alarm

digitalWrite(BUZZER_PIN, HIGH);

delay(1000); 	// Alarm on for 1 second

digitalWrite(BUZZER_PIN, LOW);

delay(1000);	 // Delay to prevent constant alarms

}

// Add more code here for sending warnings to a server or other actions.

}

```

Upload this code to your ESP32 in the Wokwi simulator.

Step 4: Simulate the Flood Monitoring**

1. In the Wokwi simulator, click on the "Start Simulation" button to run 		your project.

2. Simulate the water level sensor by clicking on it and changing its value 	to simulate rising water levels.

3. Observe how the buzzer/speaker activates when the water level 	exceeds the threshold.

Step 5: Real-World Implementation (Optional)

To implement this project in the real world, you will need to:

1. Purchase the necessary hardware components (ESP32, water level 	sensor, buzzer).

2. Set up your ESP32 development environment (Arduino IDE or 	PlatformIO).

3. Connect the real hardware following the same connections as in the 	Wokwi simulation.

4. Upload the Arduino code to your ESP32.

5. Deploy the system in the area you want to monitor for floods.

6. Consider adding additional features like sending alerts to a server or 	smartphone.

Remember that this is a basic example, and you can expand upon it to create a more robust flood monitoring and early warning system. Additionally, consider adding power backup solutions and other safety measures for real-world applications.